## INSTALLED SYSTEMS DATABASE
[61 empty] | Construction Costs | [12 empty] | Operating Costs
Index | Data Source | Site Name | Date of given data | City of the site | Country of the site | Installed power of the site | Typical data center power (MW) | Typical temperature of cooling fluid to the IT equipment (Min) (°C) | Typical temperature of cooling fluid to the IT equipment (Max) (°C) | Typical temperature of cooling fluid from the IT equipment (Min) (°C) | Typical temperature of cooling fluid from the IT equipment (Max (°C) | Typical temperature of fluid To the Heat User (Min) (°C) | Typical temperature of fluid To the Heat User (Max) (°C) | Is the Heat User Within the building? | Is the Heat User Within the Campus? | Is the Heat User Off premises? | distance to the heat host (in meters) | Is extra equipment required to Elevate temperatures? (i.e. heat pump) | Heat Pump COP | Energy Reuse Effectiveness (ERE) | Energy Reuse Factor (ERF) | Percentage of heat reused | Amount of Heat Reused | How Much of the IT Equipment Air Cooled? | How Much of the IT Equipment use Door Heat Exchanger? | Does the IT Equipment have a Cold Plate? | IS the IT equipment cooled by Immersion? | When did heat reuse start? | What is the Business structure? | Type of User | Website Link | Other Links | Is there a product? | What was the cost of the IT facility or data center? | What was the cost to implement Heat Reuse? | How much power is used in the IT Facility or Data Center? | Data Center Space Size (m2) | Data Center Racks Size | Carbon Benefits | Other Benefits | Power/Energy Type |  | Fluid used in the IT Cooling Circuit | GWP of IT Cooling Fluid | ODP of IT Coolnig Fluid | Fluid Viscosity in IT Cooling Circuit | Temperature returning to the IT equipment | Fluid pressure entering the Heat Exchnager on the IT Cooling Side | Fluid Pressure leaving the heat exchanger on the IT Cooling Side | Fluid Flow in the IT Cooling Circuit | Fluid used in the Heat User Circuit | Fluid Viscosity in Heat User Circuit | Heat Capacity of Heat User Fluid | Temperature supplied To The Heat User | Temperature returning from the Heat User | Fluid pressure entiering the Heat Exchnager on the Heat User Side | Fluid Pressure leaving the heat exchanger on the Heat User Side | Fluid Flow in the Heat User Circuit | IS there SHORT TERM thermal storage of the heated fluid? | IS there LONG TERM thermal storage of the heated fluid? | Piping Diameter (IT Side) | Piping Length (IT Side) | Piping Insulation (IT Side) | Piping Diameter (Heat User Side) | Piping Length (Heat User Side) | Piping Insulation (Heat User Side) | Cost of Piping | Cost of Equipment | Ancillary IT Facility Costs | Ancillary Heat User Equipment Costs | Costs of Storage Equipment | Costs of Planning | Costs of Engineering | Water Usage | Water cost rate | Cost of Electricity
1 | Map+B2H | NREL | 2023-03-01 | Golden | Colorado | 2-5MW | 10 | 24 | 24 | 30 | 40 |  |  | Yes | No | No |  | No |  | 0.9-0.95 |  |  |  | 5-10% | 5-10% | 80-90% |  |  | Self Use | Laboratory | https://www.nrel.gov/computational-science/hpc-user-facility.html | https://drive.google.com/file/d/1W6hG85K4Oc6wiIk-MxPiFbGH9Q5tVp2N/view |  |  |  |  | 900
2 | B2H | Notre Dame |  | South Bend | Indiana | [24 empty] | Greenhouse | [7 empty] | 1
3 | B2H | Westin Building Exchange |  | Seattle | Washington | 5 MW | [23 empty] | Buildings | [8 empty] | 32 tons saved per year
4 | B2H | White Data Center Project | 1905-07-13 | Bibai | Japan |  | 40 | 33 | 33 |  |  | 27 |  | No | No | Yes | Adjacent | [15 empty] | 300,000 eels (75,000 kg)
5 | Map+B2H | Deep Green | 2023-05-10 | Exmouth | Great Britain | >1 MW | 28 | 40 | 44 | 50 | 54 | 30 |  | Yes | Yes | No | 0 | No |  |  |  | 96% |  | 0% | 0% | 0% | Yes |  | Heat provided for free |  | https://www.deepgreen.energy/ | We deploy data furnace tetology into sites which require hot water, to provide vital compute infrastructure – whilst providing significant additional, quantifiable ESG benefits. In exchange for hosting our kit and connectivity, we install free digital boilers alongside existing heating systems (and pay for the energy they use).
6 | Map+B2H | Ericsson | 2023-05-10 | Rosersberg | Sweden | 10 MW | 10 | 11 | 11 | 50 | 54 |  |  | Yes | No | No |  | No |  |  |  | >90% | 10 MW |  |  |  | Yes |  | Heat provided for free | District Heating | https://www.ericsson.com/en
7 | Map | atNorth | 2023-05-10 | Kista, Sweden | Sweden | >1 MW | >1 | 40 | 44 | 50 | 54 |  |  | Yes | No | No |  | No |  |  |  | >90% |  |  |  |  | Yes |  | Heat provided for free
8 | Map+B2H | Banhof | 2023-05-10 | Thule | Sweden | 1.6 MW | 1.2 | 40 | 44 | 50 | 54 | 65 | 100 | No | No | Yes |  | Heat Pumps |  |  |  | >90% |  |  |  |  | Yes |  | Heat provided for free | [5 empty] | SEK 8,900,000
9 | B2H | Banhof |  | Pionen | Sweden |  | 0.975 |  |  |  |  | 68 |  | No | No | Yes |  | Heat Pumps |  |  |  |  | 600 kW | 100% |  |  | No |  | Weather Dependent | District Heating |  |  |  | SEK 4,700,000
10 | B2H | Data Center Digiplex |  | Stockholm | Sweden |  | 5 | [15 empty] | 5 MW | 100% | [5 empty] | District Heating
11 | B2H | Container Data Center |  | Jordbro | Sweden | .55 MW | 0.55 | 50 | 50 |  |  | 60 |  | No | No | Yes |  | No | [11 empty] | District Heating
12 | B2H | Data Center H&M |  | Stockholm | Sweden | 1 MW | 1 | 6 | 6 | [8 empty] | Heat Pumps
13 | B2H | Datentechnik Moll |  | Boden | Sweden | 4.4 MW | 4.4 | [7 empty] | Yes | No | [10 empty] | Yes |  |  | Agriculture
14 | B2H | EcoDataCenter |  | Falun | Sweden | 2 MW | 2 | [22 empty] | Buildings and Wood Drying
15 | B2H | Edge data Center |  | Luleå | Sweden |  |  |  |  | 50 | 50 | 50 | [14 empty] | Yes | [13 empty] | Biomass Fuel Cells
16 | B2H | Green Hub |  | Stockholm | Sweden | 40 MW | [23 empty] | District Heating
17 | B2H | STO6 |  | Stockholm | Sweden | [6 empty] | 65 | 80 |  |  |  |  | Heat Pumps | [11 empty] | District Heating
18 | B2H | Stockholm Data Park |  | Stockholm | Sweden | 10 MW | [5 empty] | 85 | [5 empty] | Heat Pumps | [11 empty] | District Heating
19 | Map+B2H | Meta |  | Odense | Denmark | 1-2MW | 1.9 | 20 | 24 | [8 empty] | Heat Pumps |  |  |  |  | 100,000 MWh/a | [6 empty] | District Heating
20 | Map+B2H | IBM Resaerch (GIB Services) | 2023-05-10 | Uitikon | Switzerland | <1 | 0.32 | 40 | 44 | 50 | 54 |  |  | Yes | No | No |  | No |  |  |  | >90% |  |  |  |  | Yes |  | Heat provided for free | Pool | https://www.zurich.ibm.com
21 | B2H | Data Center Eastern Switzerland |  | Gais | Switzerland |  | 1.5 | 14 | 14 | 20 | 20 | 100 |  | No | No | Yes | Adjacent | Heat Pumps | [11 empty] | Agricultural |  |  | 18,000,000 lliters of milk + some cheese |  |  |  | 200
22 | B2H | Eco-Qube |  | Dùindorf | Switzerland | [12 empty] | Heat Pumps
23 | Map | Smart DC |  | Rotterdam | Belgium | >1 MW | 10-19.9MW | 20 | 24 | 30 | 34 |  |  | No | Yes | Yes | 100 - 200 | Yes |  | 0.8-0.89 | 0.5-0.59 | 20-30% |  | 5-9% | 30-39% | 60-69%
24 | Map | NorthC |  | Rotterdam | Belgium | >1 MW | 10-19.9MW | 20 | 24 | 30 | 34 |  |  | No | Yes | Yes | 100 - 200 | Yes |  | 0.8-0.89 | 0.5-0.59 | 20-30% |  | 5-9% | 30-39% | 60-69%
25 | Map+B2H | LUMI Supercomputer | 2021 | Kajaani | Finland | 5-10MW | 5-9.9MW | [6 empty] | Yes | Yes | Yes | 100 - 200 | Heat Pumps |  |  |  | >90% |  | 5-9% | [6 empty] | https://www.lumi-supercomputer.eu |  |  | 202000000 |  |  |  |  | 13500 tons saved |  | Hydroelectricity
26 | Map | Hetzner Finland Oy | 2023-05-10 | Tusuula, FI | Finland | >1 MW | 1 | 40 | 44 | 50 | 54 |  |  | Yes | No | No |  | No |  |  |  | >90% |  |  |  |  | Yes |  | Heat provided for free |  | www.hetzner.com
27 | Map | Ficolo | 2023-06-13 | Vantaa | Finland | 5-10MW | 5-9.9MW | 20 | 24 | 35 | 39 |  |  |  |  | Yes | 200 - 500 | Yes |  |  |  | 20-30% |  | >90% |  |  |  | 2021 | Heat Sold |  | https://finland.verneglobal.com/en/data-centers/the-air/ | provided water temperature 95-100*C
28 | Map | Tietoevry Oyj | 2023-05-10 | Espoo, FI | Finland | >1 MW | 1 | 40 | 44 | 50 | 54 |  |  | Yes | No | No |  | No |  |  |  | >90% |  |  |  |  | Yes |  | Heat provided for free
29 | Map+B2H | Academica |  | Helsinki | Finland | 2 MW | 2 | 20 | 24 | 30 | 34 |  |  | No | Yes | Yes | 100 - 200 | Yes |  | 0.8-0.89 | 0.5-0.59 | 20-30% |  | 5-9% | 30-39% | 60-69% |  |  |  |  | https://www.future-tech.co.uk/treat-your-data-centre-as-an-energy-source/
30 | B2H | Data Center in Mäntsälä |  | Helsinki | Finland | [6 empty] | 85 |  | No | No | Yes | 200 | Heat Pumps
31 | B2H | Elisa HQ |  | Helsinki | Finland | [33 empty] | 250 tons saved
32 | B2H | Ericscsson Data Center |  | kirkonummi | Finland | [37 empty] | HFO-1234ze
33 | B2H | Nokia Data Center vLab | 2022 | Tampere | Finland | [6 empty] | 95 | [5 empty] | Heat Pumps
34 | B2H | Pitäjänmäki Dat Centre | 2022 | Helsinki | Finland |  | 24 | [10 empty] | Heat Pumps
35 | B2H | 3D Animation Studio | 2018 | Paris | France | >1 MW | 1 |  |  |  |  | 27 | [9 empty] | 100% |  | 0% | 0% | 0% | Yes |  |  | Swimming Pool | [8 empty] | 45 tons CO2 Saved
36 | B2H | Data Center Telecity |  | Paris | France | [8 empty] | Yes | Yes | No | [5 empty] | 100%% |  |  |  |  | No |  |  | Arboretum
37 | B2H | Q.Rad Heaters |  | Paris | France |  | 0.15 | [6 empty] | Yes | Yes | No | [5 empty] | 100%% | 150 kW | 100% |  |  | No |  |  | Building
38 | Map | Green Computing |  | Paris | France | 10-20MW | 10-19.9MW | 20 | 24 | 30 | 34 |  |  | No | Yes | Yes | 100 - 200 | Yes |  | 0.8-0.89 | 0.5-0.59 | 20-30% |  | 5-9% | 30-39% | 60-69% |  |  |  |  | https://greendata.fr
39 | Map | Leibniz-Rechenzentrum | 2023-05-10 | Munich | Germany | >1 MW | 1 | 40 | 44 | 50 | 54 |  |  | Yes | No | No |  | No |  |  |  | >90% |  |  |  |  | Yes |  | Heat provided for free |  | https://www.lrz.de
40 | Map+B2H | Volkwagen Financial | 2023-05-10 | Braunschweig | Germany | 0.25 | 0.25 |  |  |  |  | 70 |  | No | No | Yes | 3000 | No |  |  |  | >90% |  |  |  |  | Yes |  | Heat provided for free |  | 404 |  |  | 460000
41 | Map | Cloud & Heat |  | Frankfurt | Germany | 10-20MW | 10-19.9MW | 20 | 24 | 30 | 34 |  |  | No | Yes | Yes | 100 - 200 | Yes |  | 0.8-0.89 | 0.5-0.59 | 20-30% |  | 5-9% | 30-39% | 60-69%
42 | Map | Data Castle |  | Frankfurt | Germany | >1 MW | 10-19.9MW | 20 | 24 | 30 | 34 |  |  | No | Yes | Yes | 100 - 200 | Yes |  | 0.8-0.89 | 0.5-0.59 | 20-30% |  | 5-9% | 30-39% | 60-69%
43 | B2H | Algae Farm |  | Enge-Sande | Germany | 15 MW | 6 MW | [6 empty] | No | Yes | No | On Roof |  |  |  |  | 100% | 60 kW | [6 empty] | Agricultural |  |  | "Lüttge" nutritional supplements by Evergreen-Food GmbH | 550000 |  | 60 kW |  | 24 | 1 kg of algae consumes 2 kg of carbon |  | 98% Wind
44 | B2H | Campus Lichtwiese |  | Darmstadt | Germany |  |  |  |  | 60 | 60 | 70 | [21 empty] | 15000000
45 | B2H | Colocation Westend |  | Bremen | Germany |  | 0.8
46 | B2H | Data Center at Wallotstraße |  | Dresden | Germany | [6 empty] | 60 | [7 empty] | 0.62
47 | B2H | Data Center Cologne |  | Cologne | Germany | [25 empty] | There is no data
48 | B2H | Data Center Kelsterbach (Lufthansa) |  | Kelsterbach | Germany | [25 empty] | There is no data
49 | B2H | Green Cube |  | Darmstadt | Germany | [17 empty] | 12 MW | [10 empty] | 2800000
50 | B2H | Gym Heating |  | Hamburg | Germany | [31 empty] | 200 | 63
51 | B2H | Heinrich-Böll-Foundation |  | Berlin | Germany |  |  | 23 |  |  |  | 30 |  | Yes | No | No | 0
52 | B2H | Eurotheum |  | Frankfurt | Germany |  | 0.6 | [14 empty] | 90% | [7 empty] | Building | [8 empty] | 557 tons saved | Cooling savings of 95,000 Euros and heating savings of 65,000 Euros
53 | B2H | Horeka High Performance Computer |  | Karlruhe | Germany | [24 empty] | Building |  |  |  | 15000000
54 | B2H | Location |  | Hannover | Germany | 5 MW | [30 empty] | 4000
55 | B2H | LRZ |  | Munchen-Garching | Germany |  | 4 | 50 |  |  |  | 60 | [17 empty] | Building
56 | B2H | NTT Munich 2 |  | Munich | Germany | [8 empty] | Yes | Yes | No | [6 empty] | .34 MW | [6 empty] | Building |  |  |  | 12100000
57 | B2H | New Mecklenburg Building |  | Griefswald | Germany | [36 empty] | There is insuffient data
58 | B2H | University of Hamburg |  | Hamburg | Germany
59 | B2H | University of Stuttgart |  | Stuttgart | Germany |  | 3.5 | 25 |  | 35 |  | 70
60 | B2H | Unterfräkische Überlandzentrale |  | Lülsfeld | Germany |  |  | 22 |  |  |  | 35 | [5 empty] | Heat Pumps
61 | B2H | Züblin Z3 |  | Stuttgart | Germany | [8 empty] | Yes | No | No | [13 empty] | Building | [11 empty] | This is air-to-air
64 | B2H | Londoner Docklands | 2010 | London | Great Britain | [17 empty] | 9 MW | [6 empty] | Buildings | [8 empty] | 1100 Tons saved
65 | B2H | Data Center Digiplex |  | Kopenhagen | Denmark | [24 empty] | District Heating
66 | B2H | Data Center Viborg |  | Viborg | Denmark | [24 empty] | District Heating
67 | B2H | Supercomputer Center DTU |  | Risø | Denmark | [12 empty] | Heat Pumps |  |  |  |  | 600 kW | [6 empty] | District Heating | [6 empty] | 3800
68 | B2H | Blockheating |  | Venlo | Netherlands |  | 0.2 |  |  |  |  | 65 | [17 empty] | Agriculture | Implements used IT gear
69 | B2H | Equinix AM3 |  | Amsterdam | Netherlands | 14 |  |  |  | 20 |  | 30 | [9 empty] | 80%
71 | B2H | DC1-Stavenger |  | Rennesøy | Norway |  | 52 |  |  | 8 |  | 20 |  | No | No | Yes | Adjacent | No |  |  |  |  | 52 MW | [6 empty] | Lobster Farm |  |  | 900 tons of Lobster |  |  |  | 22600 | [13 empty] | Sea water
72 | B2H | DC2-Telemark |  | Rjukan | Norway | 20 MW | [10 empty] | 800 | [5 empty] | 20 MW | [6 empty] | Trout Farm |  |  | 9000 tons of trout | 100000000
73 | B2H | Ulven |  | Oslo | Norway |  | 3.5 | [15 empty] | 3.5 MW
IN PLANNING / IMPLEMENTATION
74 | B2H | Data Center Val d Europe |  | Val d Europe | France |  | 7.8 |  |  |  |  | 55 |  |  |  |  | 4 | Boilers |  |  |  | 100% | 7.8 MW | [6 empty] | Buildings |  |  |  | 3500000 |  |  |  |  | 4,000 tons saved
75 | B2H | Data Center PA10 |  | Paris | France | [24 empty] | Pool + Greenhouse |  |  |  | 163000000 |  |  | 3775 | 1525
76 | B2H | London Data Freeport |  | Havering | Great Britain |  | 0.6 | [22 empty] | Agriculture |  |  |  | 5300000000 |  |  | 330000
77 | B2H | AWS Data Center |  | Dublin | Ireland | [24 empty] | Buildings | [8 empty] | 1500 tons saved
78 | B2H | Ecologic |  | Newtown Mount Kennedy | Ireland |  | 0.15 | [15 empty] | 150 MW | [6 empty] | Biodomes | [8 empty] | Carbon Neutral
79 | B2H | Data Center Danfoss |  | Nordborg | Denmark | 1 MW | 1 | [6 empty] | Yes | Yes | No | [13 empty] | General Heating
80 | B2H | Equinix HE3 & HE5 |  | Helsinki | Finland | [24 empty] | District Heating
81 | B2H | Microsoft Data Center |  | Espoo | Finland | [24 empty] | District Heating | [8 empty] | 400000 tons saved
82 | B2H | Data Castle 25 MVA Data Center |  | Schwalbach am Taunus | Germany | 25 MVA | [34 empty] | Solar Panels
83 | B2H | Audi In Campus |  | Ingolstadt | Germany |  | 2 | 22 |  | 30 |  | 45 |  |  |  |  | 3000 | Heat Pumps |  |  |  |  | 2MW | [6 empty] | District Heating | [28 empty] | Subterranean Storage
84 | B2H | Data Center Heated Night Club |  | Frankfurt Seckbach | Germany |  | 30 | [9 empty] | 500 | Heat Pumps | [11 empty] | Building | [6 empty] | 10500
85 | B2H | Equinix FR4, FR6 & FR8 |  | Frankfurt Griesheim | Germany |  | 56 | [9 empty] | 2000 |  |  |  |  | 70% | [7 empty] | District Heating
86 | B2H | Franky |  | Frankfurt Gallus | Germany | 20 | 14 |  |  | 30 |  | 70 |  |  |  |  | 260 | Heat Pumps
87 | B2H | JH Computers |  | Stödtlen | Germany |  | 1 | [9 empty] | Adjacent | Heat Pumps | [18 empty] | 220 | 50
88 | B2H | Equinix MU4 |  | Munich | Germany | [24 empty] | District Heating |  |  |  | 90000000 |  |  | 2250 | 825
89 | B2H | nLighten data Center |  | Eschborn | Germany |  | 2.4 | [9 empty] | 800
90 | B2H | NTT Voltastraße |  | Hattersheim | Germany
91 | B2H | ZIH TU Dresden |  | Dresden | Germany | [12 empty] | Heat Pumps | [15 empty] | 1600000
92 | B2H | Stack 80 MW data Center |  | Taunus | Germany |  | 80 | [29 empty] | 70000
93 | B2H | Data Center at ICE Train Station |  | Limburg | Germany |  | 35 |  |  |  |  | 30 | [21 empty] | 100000000 |  |  | 10330
94 | B2H | Digital Park |  | Frankfurt Fechenheim | Germany |  | 20 | [10 empty] | Heat Pumps
95 | B2H | heiCOMACS |  | Heidelberg | Germany |  | 54 | [10 empty] | Heat Pumps |  |  |  |  | 60 | [10 empty] | 15000000
96 | B2H | Ingelheimer Aue |  | Ingelheimer Aue | Germany
97 | B2H | Jupiter Project |  | Jülich | Germany |  | 15 | [26 empty] | 500000000
98 | B2H | Evo (An den Eichen) |  | Offenbach | Germany |  | 9 | [15 empty] | 9
99 | Map+B2H | Interxion | 2023-05-10 | Kista, Sweden | Sweden | >1 MW | 1 | 14 |  |  |  | 24 |  |  | No | No |  | Heat Pumps |  |  |  | >90% |  |  |  |  | Yes |  | Heat provided for free |  | https://www.ericsson.com/en | [5 empty] | 4800
100 | B2H | Elementica |  | Stockholm | Sweden |  | 21 | [8 empty] | Yes | 250 | [5 empty] | 10 MW | [5 empty] | Sold to Biomass | Biomass Processing |  | See notes regading tax implications
101 | B2H | EcoDataCenter2 |  | Östersund | Sweden |  | 20 | [15 empty] | 20 MW | [6 empty] | Fish Farm + Food Production
102 | B2H | Qscale Q01 Campus |  | Quebec | Canada |  | 96 | [25 empty] | 2,800 Tons of berries + 80,000 tons tomatoes
103 | B2H | Aalsmeer Energy Hub |  | Aalsmeer | Netherlands |  | 4 | 12 |  | 25 |  | 22 | [17 empty] | Agricultural
104 | B2H | Data Center Bytesnet |  | Groningen | Netherlands |  | 0.2 | [19 empty] | Yes
105 | B2H | Interxion AMS5 |  | Schipol-Rijk | Netherlands | [24 empty] | Industrial Dictrict
106 | B2H | Switch Datacenters |  | Woerden | Netherlands |  |  |  |  | 60
107 | B2H | QTS Datacenter |  | Groningen | Netherlands | [16 empty] | 100%
108 | B2H | Airport City Energy Network |  | Zurich | Switzerland | [24 empty] | Industrial Dictrict
109 | Map+B2H | Wyoming Hyperscale |  | Evanston | Wyoming |  | 120 | [14 empty] | 100% | [7 empty] | Agricultural |  |  | food
110
111
HJ600