## Data DICTIONARY R12
n. | Dictionary of Data Points For Use In Heat Reuse Calculations
| Data Point Name | Data Point Description | Variable Name | Data Type | Units | DATA Table Column Location | Default | Anticipated Range of Values | Included in Redfish Schema? | Source of Input Data | THE CELLS IN COLUMN "N" ARE OPEN FOR LINE-BY-LINE COMMENTS AND FEEDBACK You can also add columns and/or rows,
INTRODUCTORY INFORMATION | Index | Identifier for each unique Record | index | int |  | A | n+1 | 1 - 5000 |  | Engine
| Data Source | Source that the data was gathered from | source | string | n/a | D | Client | 30 char |  | Engine
| Party Inputting the Data, per Record | Regardless of existing or new record, the common name for "where did it come from" | Client | string | n/a | C | Client | 30 char |  | Client
| Site Name | The "Common" name for the site | name | string | n/a | B | n/a | 50 char |  | Client
| Date of given data | Date of entry of the data | date1 | Date | 2024-12-31 | E | 2024-12-31 | date |  | Client
| Date of latest update | Date of last update of the data | date2 | Date | 2024-12-31 | F | 2024-12-31 | date |  | Client
| City of the site | Nearest City to the site location | city | string | n/a | G | n/a | 30 char |  | Client
| State | State or region of the site location | state | string | n/a | H | n/a | 30 char |  | Client
| Country of the site | Country of the location | country | string | n/a | I | n/a | 30 char |  | Client
| IT Facility Latitude | Geographical Latitude of the site | sitelat | float | decimal degrees | J | n/a | -80.000000 to 80.000000 |  | Client
| IT Facility Longitude | Geographical Longitude of the site | sitelong | float | decimal degrees | K | n/a | -180.000000 to 180.000000 |  | Client
| IT Facility Elevation | Height above Mean Sea Level | siteelv | float | meters | KU | 100 | -100 to 5000 |  | Client
| Heat Offtaker Latitude | Geographical Latitude of the heat Offtaker | oftkrlat | float | decimal degrees | L | n/a | -80.000000 to 80.000000 |  | Client
| Heat Offtaker Longitude | Geographical Longitude of the heat Offtaker | oftkrlong | float | decimal degrees | M | n/a | -180.000000 to 180.000000 |  | Client
| Heat Offtaker Elevation | Height above Mean Sea Level | oftkrelv | float | meters | KU | 100 | -100 to 5000 |  | Client
| Site Owner | Principal owner of the Data Facility | siteowner | string | n/a | N | n/a | 100 char |  | Client
| Site Owner Website or Links | Any online information regarding site owners | soweblink | hyperlink | n/a | O | n/a | url |  | Client
| Data Centre Principal Tenant or User | Principal tenant or user of the site | ituser | string | n/a | P | = siteowner | 100 char |  | Client
| Data Centre Space Size (m2) | Footprint area of the white space | warea | float | square meters | Q | n/a | 100 to 9999 |  | Client
| Data Centre Racks Size | The number of data cabinets of racks | rack | int | count | R | n/a | 1 to 100000 |  | Client
| IT Power Per Rack | The avaerage amount of power per standard rack | rackkw | float | kiloWatts | S | n/a | 1 to 300 |  | Client
| Tenant Website or Links | Any online information regarding tenants or users of the data centre | itweblink | hyperlink | n/a | T | n/a | url |  | Client
| Heat Offtaker System Owner | Principal owner of the Heat Offtaker System | oftkrowner | string | n/a | U | n/a | 100 char |  | Client
| Heat Offtaker Owner Website or Links | Any online information regarding the owner/operator of the heat Offtaker system | howeblink | hyperlink | n/a | V | n/a | url |  | Client
| Heat Offtaker Principal Offtaker | Principal Offtaker of the heat | oftkruser | string | n/a | W | =huowner | 100 char |  | Client
| Heat Offtaker Website or Links | Any online information regarding the actual Offtaker(s) of the heat | huweblink | hyperlink | n/a | X | n/a | url |  | Client
| Type of Offtaker | General category of heat Offtaker | oftkrtype | string | n/a | Y | SELECTION BOX: Agricultural, Biomass Processing, Building HVAC Reheat, Decarbonization, District Energy, Ethanol Production, Fish Farming – Freshwater, Fish Farming. – Seawater, Greenhouse, Heat Storage in Aquafer, Hospital, Hotel, Industrial Laundry, Private District Energy, Swimming Pool, Wastewater Treatment | 30 char. Box |  | Client
| What is the Business structure? | Short explanation of the relationship between the It Facility and the Heat Offtaker | relationship | string | n/a | Z | n/a | 250 char |  | Client
| When did heat reuse start? |  | date3 | Date | 2024-12-31 | AA | 2024-12-31 | date |  | Client
| Is there a product resulting from the heat reuse? | What does the Heat Offtaker get from the use of the heat, if there is an "industrial" Offtaker? | product | string | n/a | AB | No | 250 char |  | Client
| Data Centre Throughput | What is the size of the computing equipment, in "Computing Terms" | datasize | float | pflops | DA | n/a |  |  | Client
DATA HALL STUFF | Amount Cooled by Air ("traditional") (%) | How much of the IT Equipment is Cooled by Air ("traditional") (%) | itaircl | float | % | DB | n/a | <1.0 |  | Client
| Amount Cooled by Rack Door Heat Exchanger (%) | How much of the IT Equipment is Cooled by Rack Door Heat Exchanger (%) | itdrcl | float | % | DC | n/a | <1.0 |  | Client
| Amount Cooled by "Direct-to-Chip" Cold Plate (%) | How much of the IT Equipment is Cooled by "Direct-to-Chip" Cold Plate (%) | itchipcl | float | % | DD | n/a | <1.0 |  | Client
| Amount Cooled by "Other" Cold Plate (%) | How much of the IT Equipment is Cooled by "Other" Cold Plate (%) | itpltcl | float | % | DE | n/a | <1.0 |  | Client
| Amount Cooled by Single Phase Immersion (%) | How much of the IT Equipment is Cooled by Single Phase Immersion (%) | it1imm | float | % | DF | n/a | <1.0 |  | Client
| Amount Cooled by Two Phase Immersion (%) | How much of the IT Equipment is Cooled by Two Phase Immersion (%) | it2imm | float | % | DG | n/a | <1.0 |  | Client
| Data Centre Load Daily Fluctuation | Daily swing in available heat, from Client input | itdivrday | float | % | DH | 1 | (calculated) |  | Engine
| Data Centre Load Annual Fluctuation | Annual swing in available heat, from Client input | itdvryr | float | % | DI | 1 | (calculated) |  | Engine
| Waste Heat Available, Adjusted for Fluctuation | Total Waste Heat Available, multiplied by both Fluctuation factors | whadvr | float | % | DJ | =wha | (calculated) |  | Client
| RESERVED |  | n |  |  | DK |  |  |  | Client
| RESERVED |  | n |  |  | DL |  |  |  | Client
ENERGY INFORMATION | Installed power of the site | Installed power of the site | sitepwr | float | MegaWatts | AC | n/a | 0.0 - 500.0 |  | Client
| Rated data Centre power | Rated data Centre power | itpwr | float | MegaWatts | AD | n/a | 0.0 - 500.0 |  | Client
| Primary Electrical Power Source | Primary Electrical Power Source | pwrsce1 | string | n/a | AE | n/a | 50 char |  | Client
| Primary Source Type | Primary Source Type | pwrtype1 | string | n/a | AF | n/a | 50 char |  | Client
| Base Cost Rate for Primary Power | Base Cost Rate for Primary Power | pwrrate1 | float | FORMAT?? | AG | n/a |  |  | Client
| Rate Adjustments to Power Base Rate | Rate Adjustments to Power Base Rate | pwrrate1ad | float | n/a | AH | n/a |  |  | Client
| Proportion of Total Power From Primary Source | Proportion of Total Power From Primary Source | pwr1prop | float | n/a | AI | 1 | 0 - 1.0 |  | Client
| Secondary Power Source | Secondary Power Source | pwrsce2 | string | n/a | AJ | n/a | 50 char |  | Client
| Secondary Source Type | Secondary Source Type | pwrtype2 | string | n/a | AK | n/a | 50 char |  | Client
| Base Cost Rate for Secondary Power | Base Cost Rate for Secondary Power | pwrrate2 | float | FORMAT?? | AL | n/a |  |  | Client
| Rate Adjustments to Secondary Power Base Rate | Rate Adjustments to Secondary Power Base Rate | pwrrate2ad | float | FORMAT?? | AM | n/a |  |  | Client
| Proportion of Total Power From Secondary Source | Proportion of Total Power From Secondary Source | pwrrate2prop | string | n/a | AN | n/a |  |  | Client
| Alternate or Additional Fuels | Alternate or Additional Fuels | pwralt | string | n/a | AO | n/a |  |  | Client
| Alternalte Fuel Type | Alternalte Fuel Type | pwralttype | string | n/a | AP | n/a |  |  | Client
| Base Cost rate for Alternate or Additional Fuels | Base Cost rate for Alternate or Additional Fuels | pwrratealt | float | n/a | AQ | n/a |  |  | Client
| Rate Adjustments to Alternate Fuels Base Cost Rate | Rate Adjustments to Alternate Fuels Base Cost Rate | pwrratealtad | float | n/a | AR | n/a |  |  | Client
| Water Usage | Water Usage | h2ouse | float | liters per year | AS | 0 |  |  | Client
| Water cost rate | Water cost rate | h2orate | float | FORMAT?? | AT | 0 |  |  | Client
| Is the Heat Offtaker Within the building? | Is the Heat Offtaker Within the building? | oftkrbldg | string | Yes / No | AU | No | Yes / No |  | Client
| Is the Heat Offtaker Within the Campus? | Is the Heat Offtaker Within the Campus? | oftkrcamp | string | Yes / No | AV | Yes | Yes / No |  | Client
| Is the Heat Offtaker Off premises? | Is the Heat Offtaker Off premises? | oftkrprem | string | Yes / No | AW | Yes | Yes / No |  | Client
| Distance to the Heat Offtaker | When Offtaker is off-premises, how far to the first Offtaker | oftkrdist | int | meters | AX | 0 | 0 to 5000 |  | Client
| Energy Reuse Effectiveness (ERE) | Use these figures if offered by Client | ere | float | none | AY | 0.8 | 0 <1.0 |  | Client
| Energy Reuse Factor (ERF) | Use these figures if offered by Client | erf | float | none | AZ | 0.8 | 0 <1.0 |  | Client
| Heat Reuse Effectiveness (HRE) | Use these figures if calculated within our engine | hre | float | none | BA | (calculated) | 0 <1.0 |  | Engine
| Heat Reuse Factor (HRF) | Use these figures if calculated within our engine | hrf | float | none | BB | (calculated) | 0 <1.0 |  | Engine
| Percentage of Heat Reused | Use these figures if offered by Client | hrec | float | % | BC | 80% | 0 <1.0 |  | Client
| Amount of Heat Reused | Use these figures if offered by Client | hrfc | float | MW | BD |  | 0 <1.0 |  | Client
| Total Heat Available | Heat made available from the IT System | wha | float | MW | BE | (calculated) | 0.0 to 5000.0 |  | Engine
| Total Heat Reused | Heat actually processed by Offtaker system | uhr | float | MW | BF | (calculated) | 0.0 to 5000.0 |  | Engine
| Total Heat Reused, Adjusted for Fluctuation | Total Heat multiplied by both Fluctuation factors | uhrdvrad | float | MW | BG | (calculated) | 0.0 to 5000.0 |  | Engine
| HRE, Adjusted for Fluctuation | Hre, adjusted by all four factors | hredvrad | float | MW | BH | (calculated) | 0.0 to 5000.0 |  | Engine
MECHANICAL OPERATING PARAMETERS | Electrical Power to operate IT Medium stream | Mostly, will be the pump power | pwrf1 | float | kW | BI | 25 | 1.0 - 500.0 |  | Client
| Temperature to the IT equipment (Min) | Temperature to the IT equipment (Min) | T1min | float | Degrees (C) | BJ | 10 | 10.0 - 40.0 |  | Client
| Temperature to the IT equipment (Max) | Temperature to the IT equipment (Max) | T1max | float | Degrees (C) | BK | 40 | 10.0 - 40.0 |  | Client
| Rated temperature to the IT equipment | Rated temperature to the IT equipment | T1 | float | Degrees (C) | BL | 30 | 10.0 - 40.0 | Yes | Client
| Ttemperature from the IT equipment (Min) | Ttemperature from the IT equipment (Min) | T2min | float | Degrees (C) | BM | 20 | 10.0 - 70.0 |  | Client
| Temperature from the IT equipment (Max) | Temperature from the IT equipment (Max) | T2max | float | Degrees (C) | BN | 60 | 10.0 - 70.0 |  | Client
| Rated temperature from the IT equipment | Rated temperature from the IT equipment | T2 | float | Degrees (C) | BO | 40 | 10.0 - 70.0 |  | Client
| Temperature difference across IT side of heat exchanger | Temperature difference across IT side of heat exchanger | itdt | float | Degrees (C) | BP | (calculated) | 10.0 - 70.0 | Yes | Engine
| Medium used in the IT Cooling Circuit | What is the medium being used for capturing heat from the IT system? | fluid1 | string | n/a | BQ | Water |  |  | Client
| Pressure entering IT Cooling Side | Gauge Pressure of the Cooling Medium at the Heat Exchanger | P2 | float | bar | BR | 4.0 | 1.0 - 25.0 |  | Client
| Pressure leaving IT Cooling Side | Gauge Pressure at the Cooling Medium as delivered from the Heat Exchanger | P1 | float | bar | BS | 1.0 | 1.0 - 25.0 |  | Client
| Pressure drop on IT side | Heat Exchanger "Delta P", on the IT Side | dpit | float | bar | BT | (calculated) |  | Yes | Engine
| Medium Flow in the IT Cooling Circuit | Fluid flow of IT Cooling Medium | F1 | float | Liters per Minute | BU |  | 250 - 10000 |  | Client
| Fluid Viscosity in IT Cooling Circuit | Viscosity of IT Cooing Medium | fluid1vis | float | n/a | BV | n/a |  |  | Client
| Heat Capacity of IT Cooling Medium | Heat Capacity of IT Cooling Medium | fluid1hc | float | n/a | BW | n/a |  |  | Client
| Material for the Piping in the IT Cooling Circuit | Materials for the majority of the piping in the cooling circuit | Itpipe | string | n/a | HY | steel | Steel, Grooved Steel, Plastic, Copper, Stainless, Grooved Stainless |  | Client
| GWP of IT Cooling Medium | GWP of IT Cooling Medium | gwp1 | float | n/a | BX | n/a |  |  | Client
| ODP of IT Cooling Medium | ODP of IT Cooling Medium | odp1 | float | n/a | BY | n/a |  |  | Client
| Typical temperature of Medium returning from the Heat Offtaker (Min) | Typical temperature of Medium returning from the Heat Offtaker (Min) | T4min | float | Degrees (C) | BZ | 20 | 10.0 - 40.0 |  | Client
| Typical temperature of Medium returning from the Heat Offtaker (Min) | Typical temperature of Medium returning from the Heat Offtaker (Min) | T4min | float | Degrees (C) | BZ | 20 | 10.0 - 40.0 |  | Client
| Typical temperature of Medium returning from the Heat Offtaker (Max) | Typical temperature of Medium returning from the Heat Offtaker (Max) | T4max | float | Degrees (C) | CA | 40 | 10.0 - 50.0 |  | Client
| Rated temperature of Medium FROM the Heat Offtaker | Rated temperature of Medium FROM the Heat Offtaker | T4 | float | Degrees (C) | CB | 25 | 10.0 - 50.0 |  | Client
| Typical temperature of Medium To the Heat Offtaker (Min) | Typical temperature of Medium To the Heat Offtaker (Min) | T3min | float | Degrees (C) | CC | 30 | 10.0 - 60.0 |  | Client
| Typical temperature of Medium To the Heat Offtaker (Max) | Typical temperature of Medium To the Heat Offtaker (Max) | T3max | float | Degrees (C) | CD | 50 | 10.0 - 60.0 |  | Client
| Rated temperature of Medium TO the Heat Offtaker | Rated temperature of Medium TO the Heat Offtaker | T3 | float | Degrees (C) | CE | 45 | 10.0 - 60.0 |  | Client
| Temperature Difference across Offtaker side of heat exchanger | Temperature Difference across Offtaker side of heat exchanger | oftkrdt | float | Degrees (C) | CF | (calculated) | 10.0 - 70.0 |  | Engine
| Material for the Piping for the Heat Offtaker Circuit: | Material for the Piping for the Heat Offtaker Circuit: | oftkrpipe | string | n/a | HZ | steel | Steel, Grooved Steel, Plastic, Copper, Stainless, Grooved Stainless |  | Client
| Medium used in the Heat Offtaker Circuit | What is the medium being used for heating? | fluid2 | string | n/a | CG | Water | 50 char |  | Client
| Medium pressure entering the heat exchnager on the Heat Offtaker Side | Gauge Pressure at the Heat Exchanger | P4 | float | bar | CH | 5 | 1.0 - 25.0 |  | Client
| Medium Pressure leaving the heat exchanger on the Heat Offtaker Side | Gauge Pressure at the Heat Exchanger | P3 | float | bar | CI | 3 | 1.0 - 25.0 |  | Client
| Medium Pressure drop across heat exchanger on Offtaker side | Heat Exchanger "Delta P", on the Offtaker Side | oftkrdp | float | bar | CS | (calculated) |  |  | Engine
| Medium Flow in the Heat Offtaker Circuit | What is the fluid flow in the Offtaker side? | F2 | float | Liters per Minute | CJ |  |  |  | Client
| Fluid Viscosity in Heat Offtaker Circuit | What is the viscosity of the Medium on the Offtaker side? | fluid2vis | float |  | CL |  |  |  | Client
| Heat Capacity of Heat Offtaker Medium | What is the Heat Capacity of the Offtaker side Medium? | fluid2hc | float |  | CM |  |  |  | Client
| Is there SHORT TERM thermal storage of the heated Medium? | If there is some kind of buffer tank? | storst | string | Yes / No | CN | No | Yes / No |  | Client
| Size of the short term storage | How much Medium is stored or buffered? | storstsz | float |  | CO |  |  |  | Client
| Type of Short Term Storage | What type of storage is there? | storsttyp | string | n/a | CP | Tank | 50 char |  | Client
| Is there LONG TERM thermal storage of the heated Medium? | If there is a reservior or large body of water? | storlt | string | Yes / No | CQ | No | Yes / No |  | Client
| Size of the long term storage | What is the volume of the large, long term storage? | storltsz | float |  | CR |  |  |  | Client
| Type of Long Term Storage | What type of storage is there? | storlttyp | string | n/a | CT | Reservior | 50 char |  | Client
| Is extra equipment required to Elevate temperatures? | If the Offtaker side Medium is not suffiently warm enough for the Offtaker's benefit, how is it further heated? | boost | string | Yes / No | CK | No | Yes / No |  | Client
| What Equipment Type? | What is used to boost the temperature to make it "usable"? | boosteqp | string | n/a | CU | Heat Pump | "Heat Pump", "Boiler" |  | Client
| Heat Pump COP | IF a heat pump is used, how efficient is that heat pump? | bsthpcop | float | n/a | CV |  | 0.5 - 1.0 |  | Client
| Boiler Efficiency | IF a boiler is used, how efficient is that boiler? | bstblreff | float | n/a | CW |  | 0.5 - 1.0 |  | Client
| Electrical Power to operate Offtaker Medium stream | Power for fluid movement on the Heat Offtaker side | pwrf2 | float | kW | CX | 25 | 1.0 - 1000.0 |  | Client
| Offtaker Daily Fluctuation Factor | Calculated from Client Input, DAILY swing in Usage | dvrusrday | float | n/a | CY | 1 | (calculated) |  | Engine
| Offtaker Seasonal Fluctuation Factor | Calculated from Client Input, ANNUAL swing in Usage | dvrusryr | float | n/a | CZ | 1 | (calculated) |  | Engine
Offtaker BUSINESS COSTS/BENEFITS | Offtaker Industrial Product 1 | Is there an industrial use for the heat? If so, what is the primary product? | prod1 | string |  | DM | No | 100 char |  | Client
| Offtaker Product 1 Annual Revenue | Annual revenue to Offtaker from Product 1 | prod1rev | float | € | DN | 0 | 0 |  | Client
| Offtaker Industrial Product 2 | Is there an industrial use for the heat? If so, what is the secondary product? | prod2 | string |  | DO | No | 100 char |  | Client
| Offtaker Product 2 Annual Revenue | Annual revenue to Offtaker from Product 2 | prod2rev | float | € | DP | 0 | 0 |  | Client
| Offtaker Cost of Alternative Heat | What would heat cost RATE if there were no reuse? | althtrate | float | € | DQ |  |  |  | Client
| Cost of electricity (Offtaker) |  | usrpwrrate | float | € | DR |  |  |  | Client
| Carbon Benefits | NOT CERTAIN HOW TO QUANTIFY | benusrcard | float | € | DS |  |  |  | Client
| Other Benefits |  | benusrmisc | float | € | DT |  |  |  | Client
| Emissions avoided at the Heat Offtaker |  | benusremit | float | € | DU |  |  |  | Client
| Energy savings certificates (or equivalent) For Offtaker |  | benusrnrg | float | € | DV |  |  |  | Client
| Offtaker Cost of Maintenance | Annual maintenance cost SPECIFIC TO THIS HEAT SYSTEM | cstusrmnt | float | € | DW
| External Offtaker equipment costs |  | cstustext | float | € | DX |  |  |  | Client
| Costs of Storage Equipment |  | cstusrsto | float | € | DY |  |  |  | Client
| Ancillary Heat Offtaker Equipment Costs |  | cstushteq | float | € | DZ |  |  |  | Client
TENANT BUSINESS COSTS/BENEFITS | incomplete |  | n |  |  | EA |  |  |  | Client
| Advanced Cooling Capacity | NOT CERTAIN HOW TO QUANTIFY | benitcool | float |  | EB |  |  |  | Client
| Cost of cooling energy (IT facility) |  | cstitcool | float | € | EC |  |  |  | Client
| incomplete |  | n |  |  | ED |  |  |  | Client
| incomplete |  | n |  |  | EF |  |  |  | Client
OWNER BUSINESS BENFITS | Emissions Avoided at the IT facility |  | avdemit | float | € | EP |  |  |  | Client
| Water Usage Avoidance |  | avdh20 | float | € | EQ |  |  |  | Client
| Earnings from selling the heat | Where Offtaker pays for reused heat, at what RATE? | heatrev | float | € | ER |  |  |  | Client
| Energy savings certificates (or equivalent) IT facility |  | nrgcerts | float | € | ES |  |  |  | Client
| Savings Associated to Avoided Equipment |  | avdeqpt | float | € | ET |  |  |  | Client
| Subsidies |  | subs | float | € | EU |  |  |  | Client
| Emissions Costs Avoided |  | avdemtcst | float | € | EV |  |  |  | Client
| Tax rebates |  | avdtax | float | € | EW |  |  |  | Client
| incomplete |  | n |  |  | EX |  |  |  | Client
| incomplete |  | n |  |  | EY |  |  |  | Client
| incomplete |  | n |  |  | EZ |  |  |  | Client
CONSTRUCTION / INSTALLATION COSTS | Costs of Planning | Costs associated with the development of the project | costplan | float | € | FA |  |  |  | Client
| Costs of Permitting and Compliance | Costs associated with securing permits, and complying with any jurisdictional regulations | costperm | float | € | FB |  |  |  | Client
| Costs of Architects | Costs of engaging architects as required | costarch | float | € | FC |  |  |  | Client
| Costs of Engineering | Costs of engaging engineers as required | costeng | float | € | FD |  |  |  | Client
| incomplete |  | n |  |  | FE |  |  |  | Client
| Cost of Equipment | Costs for the major equipment of Heat Reuse | costmjeq | float | € | FF |  |  |  | Client
| Heat-exchanging room elements | Ancillary Equipment at Owner space | costmneq | float | € | FG |  |  |  | Client
| Installation Costs | the costs of installing the major equipment within the Owners site, exclusice of piping. | cstinslpip | float | € | FH |  |  |  | Client
| Costs of Controls | The sum of all electronic monitoring and controlling devices, including one local "PLC" | costcntrl | float | € | FI |  |  |  | Client
| Electrical Installation | The cost for the installation of both power wiring to the system, and conttrols installation and wiring. | cstelcinst | float | € | FJ |  |  |  | Client
| Piping Diameter (IT Side) | The pipe size of the majority of the headers | pipitdia | int | mm | FK |  |  |  | Client
| Piping Length (IT Side) | The total length of Heat Reuse piping on the IT side of the system | pipitlen | int | m | FL |  |  |  | Client
| Piping Insulation (IT Side) | Thickness of the pipe insulation | pipitins | int | mm | FM |  |  |  | Client
| Cost of Piping on the IT side | The costs of installing the IT Cooling piping | costpipit | float | € | FN |  | (calculated) |  | Engine
| Piping Diameter (Heat Offtaker Side) | The pipe size of the majority of the headers | pipusdia | int | mm | FU |  |  |  | Client
| Piping Length (Heat Offtaker Side) | The total length of Heat Reuse piping on the IT side of the system | pipuslen | int | m | FV |  |  |  | Client
| Piping Insulation (Heat Offtaker Side) | thickness of the pipe insulation | pipusins | int | mm | FQ |  |  |  | Client
| Cost of piping on the Offtaker Side, within Owner boundary | Cost to install the Offtaker piping, on Owner site | costpipusr | float | € | FR |  | (calculated) |  | Engine
| Valves and Fittings | An estimation of the ancillary piping devices | costvalit | float | € | FS |  | (calculated) |  | Engine
| Valves and Fittings | An estimation of the ancillary piping devices | costvalusr | float | € | FT |  | (calculated) |  | Engine
| Cost of Piping | The sum of all the piping installation costs | costpipe | float | € | FO | = FN + FR + FS + FT | (calculated) |  | Engine
| Ancillary IT Facility Costs | Miscellaneous costs to accommodate the system | costanceq | float | € | FP |  |  |  | Client
| Civil works associated | All cumulative costs to install the infrastructure, NOT within the Owner or Offtaker boundaries | costcvl | float | € | FW |  |  |  | Client
| Weight bearing elements | Facility structural costs | coststct | float | € | FX |  |  |  | Client
| The cost of installing the Heat Reuse System | Costs of installation, incurred at the Owners site | costinst | float | € | FY |  |  |  | Client
| What was the cost of the IT facility or data centre? | What is the reported value of the IT Facility? | costitctr | float | € | FZ |  |  |  | Client
OWNER OPERATING COSTS | Space costs | The value of the real estate occupied by the heat reuse equipment | spaceval |  |  | GA |  |  |  | Client
| Energy usage for chillers | The cost of operating chillers, to replace the heat rejection of heat to the Offtaker | costchlr |  |  | GB |  |  |  | Client
| Energy usage for free-cooling | The cost of operating an alternate cooling strategy, to replace the heat rejection of heat to the Offtaker | costfrec |  |  | GC |  |  |  | Client
| Maintenance of the Heat Transfer System | Annual cost to maintain the system | costmaint |  |  | GD |  |  |  | Client
| incomplete |  | n |  |  | GE |  |  |  | Client
| incomplete |  | n |  |  | GF |  |  |  | Client
| incomplete |  | n |  |  | GG |  |  |  | Client
| incomplete |  | n |  |  | GH |  |  |  | Client
| incomplete |  | n |  |  | GI |  |  |  | Client
| incomplete |  | n |  |  | GJ |  |  |  | Client
| incomplete |  | n |  |  | GK |  |  |  | Client
| incomplete |  | n |  |  | GL |  |  |  | Client
| incomplete |  | n |  |  | GM |  |  |  | Client
| incomplete |  | n |  |  | GN |  |  |  | Client
| incomplete |  | n |  |  | GO |  |  |  | Client
| incomplete |  | n |  |  | GP |  |  |  | Client
| incomplete |  | n |  |  | GQ |  |  |  | Client
| incomplete |  | n |  |  | GR |  |  |  | Client
COMMON | Boundary definition |  | bounds | string | n/a | EG | HX Flanges | 500 CHAR |  | Client
| Discount Rate (for NPV = 0) |  | r | float | % | EH | 0.03 | 0.001 - 0.10 |  | Client
| incomplete |  | n |  |  | EI |  |  |  | Client
| Amortization time |  | T | float | years | EJ | 20 | .5 - 40.0 |  | Client
| incomplete |  | n |  |  | EK |  |  |  | Client
| incomplete |  | n |  |  | EL |  |  |  | Client
| incomplete |  | n |  |  | EM |  |  |  | Client
| incomplete |  | n |  |  | EN |  |  |  | Client
| incomplete |  | n |  |  | EO |  |  |  | Client
BOTTOM LINE | What was the cost to implement Heat Reuse? | The sum of all construction and project costs, before operations, by all parties, not including any offsets. | costproj | float | € | GS | (calculated) |  |  | Engine
| What will be the anticipated Operating Cost for one year? | Based on performance of the systems as rated, presuming fully loaded IT, and full heat utilization by the Offtaker system. | costoper | float | € | GT | (calculated) |  |  | Engine
| What is the sum of all direct incentives? | The sum of all rebates, bonuses, offsets, etc. | sumoffset | float | € | GU | (calculated) |  |  | Engine
| incomplete |  | n |  | € | GV | (calculated) |  |  | Engine
| incomplete |  | n |  | € | GW | (calculated) |  |  | Engine
| IRR |  | IRR | float | € | GX | (calculated) |  |  | Engine
| NPV |  | NPV | float | € | GY | (calculated) |  |  | Engine
| Net Return on Investment |  | ROI | float | € | GZ | (calculated) |  |  | Engine
| Net Economical Impact of this Heat Reuse System, for the first year? |  | impactyr | float | € | HA | (calculated) |  |  | Engine
| Net Economical Impact of this Heat Reuse System, for the Project Life? |  | impactlif | float | € | HB | (calculated) |  |  | Engine
EXTERNAL REFERENCES (there will be several more) | 1/2" Pipe By Length | THESE WILL BE THE CURRENT, ACTIVE PRICE per meter FOR PIPING, AT TIME OF CLIENT INPUT. WE WILL NEED TO CONFIRM ON WHICH PIPE STANDARD TO ANTICIPATE USAGE | pipprc1_2 | float | € | HC | (calculated) |  |  | External
| 3/4" Pipe By Length |  | pipprc3_4 | float | € | HD | (calculated) |  |  | External
| 1" Pipe By Length |  | pipprc1 | float | € | HE | (calculated) |  |  | External
| 2" Pipe By Length |  | pipprc2 | float | € | HF | (calculated) |  |  | External
| 4" Pipe By Length |  | pipprc4 | float | € | HG | (calculated) |  |  | External
| 6" Pipe By Length |  | pipprc6 | float | € | HH | (calculated) |  |  | External
| 8" Pipe By Length |  | pipprc8 | float | € | HI | (calculated) |  |  | External
| 10" Pipe By Length |  | pipprc10 | float | € | HJ | (calculated) |  |  | External
| 12" Pipe By Length |  | pipprc12 | float | € | HK | (calculated) |  |  | External
| 14" Pipe By Length |  | pipprc14 | float | € | HL | (calculated) |  |  | External
| 16" Pipe By Length |  | pipprc16 | float | € | HM | (calculated) |  |  | External
| 1/2" Valve Package |  | valprc1_2 | float | € | HN | (calculated) |  |  | External
| 3/4" Valve Package |  | valprc3_4 | float | € | HO | (calculated) |  |  | External
| 1" Valve Package |  | valprc1 | float | € | HP | (calculated) |  |  | External
| 2" Valve Package |  | valprc2 | float | € | HQ | (calculated) |  |  | External
| 4" Valve Package |  | valprc4 | float | € | HR | (calculated) |  |  | External
| 6" Valve Package |  | valprc6 | float | € | HS | (calculated) |  |  | External
| 8" Valve Package |  | valprc8 | float | € | HT | (calculated) |  |  | External
| 10" Valve Package |  | valprc10 | float | € | HU | (calculated) |  |  | External
| 12" Valve Package |  | valprc12 | float | € | HV | (calculated) |  |  | External
| 14" Valve Package |  | valprc14 | float | € | HW | (calculated) |  |  | External
| 16" Valve Package |  | valprc16 | float | € | HX | (calculated) |  |  | External
KW
KX
KY
| Standard Instrument and Controls Package | The total cost of the typical package of pressure, temperature, and flow instrumentation and associated controls package | cduinst | float | € | KZ | (calculated) |  |  | External
CLIENT Fluctuation INPUT | Hourly Fluctuation Factor for Computing for 0:00 | The percentage of Computing normally availalble | dvrit00 | float | % | IA | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 1:00 | The percentage of Computing normally availalble | dvrit01 | float | % | IB | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 2:00 | The percentage of Computing normally availalble | dvrit02 | float | % | IC | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 3:00 | The percentage of Computing normally availalble | dvrit03 | float | % | ID | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 4:00 | The percentage of Computing normally availalble | dvrit04 | float | % | IE | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 5:00 | The percentage of Computing normally availalble | dvrit05 | float | % | IF | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 6:00 | The percentage of Computing normally availalble | dvrit06 | float | % | IG | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 7:00 | The percentage of Computing normally availalble | dvrit07 | float | % | IH | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 8:00 | The percentage of Computing normally availalble | dvrit08 | float | % | II | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 9:00 | The percentage of Computing normally availalble | dvrit09 | float | % | IJ | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 10:00 | The percentage of Computing normally availalble | dvrit10 | float | % | IK | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 11:00 | The percentage of Computing normally availalble | dvrit11 | float | % | IL | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 12:00 | The percentage of Computing normally availalble | dvrit12 | float | % | IM | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 13:00 | The percentage of Computing normally availalble | dvrit13 | float | % | IN | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 14:00 | The percentage of Computing normally availalble | dvrit14 | float | % | IO | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 15:00 | The percentage of Computing normally availalble | dvrit15 | float | % | IP | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 16:00 | The percentage of Computing normally availalble | dvrit16 | float | % | IQ | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 17:00 | The percentage of Computing normally availalble | dvrit17 | float | % | IR | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 18:00 | The percentage of Computing normally availalble | dvrit18 | float | % | IS | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 19:00 | The percentage of Computing normally availalble | dvrit19 | float | % | IT | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 20:00 | The percentage of Computing normally availalble | dvrit20 | float | % | IU | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 21:00 | The percentage of Computing normally availalble | dvrit21 | float | % | IV | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 22:00 | The percentage of Computing normally availalble | dvrit22 | float | % | IW | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Computing for 23:00 | The percentage of Computing normally availalble | dvrit23 | float | % | IX | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for January | The percentage of Computing normally availalble | dvritjan | float | % | IY | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for February | The percentage of Computing normally availalble | dvritfeb | float | % | IZ | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for March | The percentage of Computing normally availalble | dvritmar | float | % | JA | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for April | The percentage of Computing normally availalble | dvritapr | float | % | JB | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for May | The percentage of Computing normally availalble | dvritmay | float | % | JC | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for June | The percentage of Computing normally availalble | dvritjun | float | % | JD | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for July | The percentage of Computing normally availalble | dvritjul | float | % | JE | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for August | The percentage of Computing normally availalble | dvritaug | float | % | JF | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for September | The percentage of Computing normally availalble | dvritsep | float | % | JG | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for October | The percentage of Computing normally availalble | dvritoct | float | % | JH | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for November | The percentage of Computing normally availalble | dvritnov | float | % | JI | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Computing for December | The percentage of Computing normally availalble | dvritdec | float | % | JJ | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 0:00 | The percentage of heat used by Offtaker system | dvrusr00 | float | % | JK | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 1:00 | The percentage of heat used by Offtaker system | dvrusr01 | float | % | JL | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 2:00 | The percentage of heat used by Offtaker system | dvrusr02 | float | % | JM | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 3:00 | The percentage of heat used by Offtaker system | dvrusr03 | float | % | JN | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 4:00 | The percentage of heat used by Offtaker system | dvrusr04 | float | % | JO | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 5:00 | The percentage of heat used by Offtaker system | dvrusr05 | float | % | JP | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 6:00 | The percentage of heat used by Offtaker system | dvrusr06 | float | % | JQ | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 7:00 | The percentage of heat used by Offtaker system | dvrusr07 | float | % | JR | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 8:00 | The percentage of heat used by Offtaker system | dvrusr08 | float | % | JS | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 9:00 | The percentage of heat used by Offtaker system | dvrusr09 | float | % | JT | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 10:00 | The percentage of heat used by Offtaker system | dvrusr10 | float | % | JU | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 11:00 | The percentage of heat used by Offtaker system | dvrusr11 | float | % | JV | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 12:00 | The percentage of heat used by Offtaker system | dvrusr12 | float | % | JW | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 13:00 | The percentage of heat used by Offtaker system | dvrusr13 | float | % | JX | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 14:00 | The percentage of heat used by Offtaker system | dvrusr14 | float | % | JY | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 15:00 | The percentage of heat used by Offtaker system | dvrusr15 | float | % | JZ | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 16:00 | The percentage of heat used by Offtaker system | dvrusr16 | float | % | KA | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 17:00 | The percentage of heat used by Offtaker system | dvrusr17 | float | % | KB | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 18:00 | The percentage of heat used by Offtaker system | dvrusr18 | float | % | KC | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 19:00 | The percentage of heat used by Offtaker system | dvrusr19 | float | % | KD | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 20:00 | The percentage of heat used by Offtaker system | dvrusr20 | float | % | KE | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 21:00 | The percentage of heat used by Offtaker system | dvrusr21 | float | % | KF | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 22:00 | The percentage of heat used by Offtaker system | dvrusr22 | float | % | KG | 100% | 0 - 100% |  | Client
| Hourly Fluctuation Factor for Heat Use for 23:00 | The percentage of heat used by Offtaker system | dvrusr23 | float | % | KH | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for January | The percentage of heat used by Offtaker system | dvrusrjan | float | % | KI | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for February | The percentage of heat used by Offtaker system | dvrusrfab | float | % | KJ | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for March | The percentage of heat used by Offtaker system | dvrusrmar | float | % | KK | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for April | The percentage of heat used by Offtaker system | dvrusrapr | float | % | KL | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for May | The percentage of heat used by Offtaker system | dvrusrmay | float | % | KM | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for June | The percentage of heat used by Offtaker system | dvrusrjun | float | % | KN | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for July | The percentage of heat used by Offtaker system | dvrusrjul | float | % | KO | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for August | The percentage of heat used by Offtaker system | dvrusraug | float | % | KP | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for September | The percentage of heat used by Offtaker system | dvrusrsep | float | % | KQ | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for October | The percentage of heat used by Offtaker system | dvrusroct | float | % | KR | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for November | The percentage of heat used by Offtaker system | dvrusrnov | float | % | KS | 100% | 0 - 100% |  | Client
| Monthly Fluctuation Factor for Heat Use for December | The percentage of heat used by Offtaker system | dvrusrdec | float | % | KT | 100% | 0 - 100% |  | Client
| Data Point Name | Data Point Description | Variable Name | Data Type | Units | DATA Table Column Location | Default | Anticipated Range of Values |  | Source of Input Data
| 1/2" Standard Stop Valve Cost | Cost of Standard Ball Valve (e.g. gage stop) | vlstd1_2 | float | $ | LA | 0 | 10.00-100.00 |  | EXT. DATA
| 3/4" Standard Stop Valve Cost | Cost of Standard Ball Valve (e.g. drain valve) | vlstd3_4 | float | $ | LB | 17.35 | 10.00-100.00 |  | EXT. DATA
| 1" Standard Stop Valve Cost | Cost of Standard Ball Valve | vlstd1 | float | $ | LC | 0 | 10.00-100.00 |  | EXT. DATA
| 2" Standard Stop Valve Cost | Cost of Standard Butterfly Valve | vlstd2 | float | $ | LD | 0 | >100.00 |  | EXT. DATA
| 4" Standard Stop Valve Cost | Cost of Standard Butterfly Valve | vlstd4 | float | $ | LE | 0 | >100.00 |  | EXT. DATA
| 6" Standard Stop Valve Cost | Cost of Standard Butterfly Valve | vlstd6 | float | $ | LF | 0 | >100.00 |  | EXT. DATA
| 8" Standard Stop Valve Cost | Cost of Standard Butterfly Valve | vlstd8 | float | $ | LG | 0 | >100.00 |  | EXT. DATA
| 10" Standard Stop Valve Cost | Cost of Standard Butterfly Valve | vlstd10 | float | $ | LH | 0 | >100.00 |  | EXT. DATA
| 12" Standard Stop Valve Cost | Cost of Standard Butterfly Valve | vlstd12 | float | $ | LI | 0 | >100.00 |  | EXT. DATA
| 14" Standard Stop Valve Cost | Cost of Standard Butterfly Valve | vlstd14 | float | $ | LJ | 0 | >100.00 |  | EXT. DATA
| 16" Standard Stop Valve Cost | Cost of Standard Butterfly Valve | vlstd16 | float | $ | LK | 0 | >100.00 |  | EXT. DATA
| 1/2" Premium Stop Valve Cost | Cost of Stainless Steel Ball Valve (e.g. gage stop) | vlstls1_2 | float | $ | LL | 0 | 10.00-100.00 |  | EXT. DATA
| 3/4" Premium Stop Valve Cost | Cost of Stainless Steel Ball Valve (e.g. drain valve) | vlstls3_4 | float | $ | LM | 0 | 10.00-100.00 |  | EXT. DATA
| 1" Premium Stop Valve Cost | Cost of Stainless Steel Ball Valve | vlstls1 | float | $ | LN | 0 | 10.00-100.00 |  | EXT. DATA
| 2" Premium Stop Valve Cost | Cost of Stainless Steel Butterfly Valve | vlstls2 | float | $ | LO | 0 | >100.00 |  | EXT. DATA
| 4" Premium Stop Valve Cost | Cost of Stainless Steel Butterfly Valve | vlstls4 | float | $ | LP | 0 | >100.00 |  | EXT. DATA
| 6" Premium Stop Valve Cost | Cost of Stainless Steel Butterfly Valve | vlstls6 | float | $ | LQ | 0 | >100.00 |  | EXT. DATA
| 8" Premium Stop Valve Cost | Cost of Stainless Steel Butterfly Valve | vlstls8 | float | $ | LR | 0 | >100.00 |  | EXT. DATA
| 10" Premium Stop Valve Cost | Cost of Stainless Steel Butterfly Valve | vlstls10 | float | $ | LS | 0 | >100.00 |  | EXT. DATA
| 12" Premium Stop Valve Cost | Cost of Stainless Steel Butterfly Valve | vlstls12 | float | $ | LT | 0 | >100.00 |  | EXT. DATA
| 14" Premium Stop Valve Cost | Cost of Stainless Steel Butterfly Valve | vlstls14 | float | $ | LU | 0 | >100.00 |  | EXT. DATA
| 16" Premium Stop Valve Cost | Cost of Stainless Steel Butterfly Valve | vlstls16 | float | $ | LV | 0 | >100.00 |  | EXT. DATA
| 1/2" Air Vent Valve Cost | Cost of Automatic Air Vent Valve | vlvnt1_2 | float | $ | LW | 0 | 10.00-100.00 |  | EXT. DATA
| 3/4" Pressure Relief Valve Cost | Cost of Pressure Relief Valve | vlrelf3_4 | float | $ | LX | 0 | 10.00-100.00 |  | EXT. DATA
| 1" Control Valve Cost | Cost of Standard Control Valve, 24 volt, 4-20ma | vlctrl1 | float | $ | LY | 0 | >100.00 |  | EXT. DATA
| 2" Control Valve Cost | Cost of Standard Control Valve, 24 volt, 4-20ma | vlctrl2 | float | $ | LZ | 0 | >100.00 |  | EXT. DATA
| 4" Control Valve Cost | Cost of Standard Control Valve, 24 volt, 4-20ma | vlctrl4 | float | $ | MA | 0 | >100.00 |  | EXT. DATA
| 6" Control Valve Cost | Cost of Standard Control Valve, 24 volt, 4-20ma | vlctrl6 | float | $ | MB | 0 | >100.00 |  | EXT. DATA
| 8" Control Valve Cost | Cost of Standard Control Valve, 120 volt, 4-20ma | vlctrl8 | float | $ | MC | 0 | >100.00 |  | EXT. DATA
| 10" Control Valve Cost | Cost of Standard Control Valve, 120 volt, 4-20ma | vlctrl10 | float | $ | MD | 0 | >100.00 |  | EXT. DATA
| 12" Control Valve Cost | Cost of Standard Control Valve, 120 volt, 4-20ma | vlctrl12 | float | $ | ME | 0 | >100.00 |  | EXT. DATA
| 14" Control Valve Cost | Cost of Standard Control Valve, 120 volt, 4-20ma | vlctrl14 | float | $ | MF | 0 | >100.00 |  | EXT. DATA
| 16" Control Valve Cost | Cost of Standard Control Valve, 120 volt, 4-20ma | vlctrl16 | float | $ | MG | 0 | >100.00 |  | EXT. DATA
Degrees